S2 table. Cycling conditions for TaqMan array card assays

|  |  |  |
| --- | --- | --- |
| Hold stage | 95°c | 20 mins |
| 95°c | 10 mins |
| PCR stage 40 cycles | 95°c | 15 secs |
| 60°c | 1 min |